Retail EAST HSSE Quick Checklist-Ver.5

| Site Name: | Address: |
| --- | --- |
| Date: | Time: | Auditor: |

| SURROUNDING | X |
| --- | --- |
| 1.1 Is house-keeping ok? No rubbish, grass cut, no blocks to entry/exit. Landscaping well maintained, Inspect perimeter. |  |
| 1.2 No pillage visible. Check fuel delivery area & forecourt surface. |  |
| 1.3 No loose fittings at fill & dip points of underground storage tanks. Inspect all fill & dip points. |  |
| 1.4 Interceptor working (hint: look for oil flowing out of it). Check if sludge is removed based on cleaning schedule. |  |
| 1.5 Compressor room clean & tidy (water drained daily from pressure vessel). Lights working & no materials stored. |  |
| 1.6 Electrical room clean, no loose wires, panels/breakers completely labeled. Check if ELCB is available/working. |  |
| 1.7 Toilets clean, lights working, taps working door locks working, windows/doors clean, signs in place & in good condition. |  |
| 1.8 If at night, check that site is well-lit, inspect lights at canopy fascia, under canopy, perimeter, all signages and building exterior. |  |
| FORECOURT |  |
| 2.1 Is house-keeping ok? No rubbish, no slippery flooring. |  |
| 2.2 Safety signage in place (no smoking, no mobile phone, switch off engine, no motorbike straddling, no unprescribed containers). |  |
| 2.3 Extinguishers available (check service dates, seals, pressure gauge). Inspection tags provided & with inspection markings. |  |
| 2.4 No leaks at pumps & break-away couplings. Inspect pump base inside the panel cover to check traces of leaks. |  |
| 2.5 Are forecourt services in good condition? (i.e. no trip hazards due to potholes & large cracks, no surface water accumulation. |  |
| 2.6 Are there sand buckets with sweet sand or spill kits? Sand bucks are clearly marked and no rubbish inside the buckets. |  |
| AUTO SERVICING & CAR WASH |  |
| 3.1 Is house-keeping ok? No rubbish, no slippery flooring at oil change stations & carwash area. |  |
| 3.2 Used oil is collected/stored, disposal monitored & recorded, collected by govt. authorized used-oil collector. |  |
| 3.3 Check electrical wiring if manual car wash & ELCB is available/working. |  |
| SHOP |  |
| 4.1 Is house-keeping ok? No rubbish, no slippery flooring. |  |
| 4.2 First aid kit stocked, certified First Aider available per work shift. Check certificate if updated. |  |
| 4.3 Is there a safe and is it currently locked. |  |
| FOOD STORAGE & FACILITIES |  |
| 5.1 Are food servers/preparers properly attired (i.e. hair nets, aprons). Are they trained on Food Safety. Check training log. |  |
| 5.2 Check food expiry dates & check fast food freshness. |  |
| 5.3 Is there a regular schedule for calibration of temperature gauges on equipment? |  |
| 5.4 Is there a check thermometer available & calibrated? |  |
| 5.5 Are foods stored separately from chemicals and dangerous goods? |  |
| 5.6 Is hand washing facilities present? (i.e. dedicated sink for hand washing, liquid hand soap, disposable paper towel/hand dryer). |  |
| 5.7 Is there a regular schedule for monitoring temperature gauges on food equipment? 1-4C for chillers; min 65C for warmers; - 18C for freezers. |  |
| STORE ROOM |  |
| 6.1 Is house-keeping ok? Clean, no unsafe stacking of boxes, i.e. small/light packs on the top shelf. |  |
| 6.2 Aisles & doors clear and accessible. |  |
| STAFF |  |
| 7.1 Staff in appropriate working attire (i.e. wearing shoes, not slippers, for example). |  |
| 7.2 Ask one work to explain how to use fire extinguisher. |  |
| 7.3 All staff participated in actual fire-fighting drill? Check training log. |  |
| 7.4 Ask one worker to explain emergency procedure e.g. robbery or fire. |  |
| 7.5 Ask one worker to show the location of main emergency stop button & pump ESD. Check record of ESD Testing done by the dealer. |  |
| HSSE MANAGEMENT |  |
| 8.1 HSSE Training manuals & records available. Check training log. |  |
| 8.2 Emergency procedures and call numbers available (posted conspicuously). |  |
| 8.3 Safety meetings held. Show the minutes. At least, conducted monthly with all site staff in attendance. |  |
| 8.4 Incident reporting system in place. Show the incident reports for last 6 months including Near Misses/Potential incidents. |  |
| 8.5 Hardware maintenance records in place. Records should contain call time by the Dealer & actual response time by contractor. |  |
| 8.6 Are wet stock records ok? Last months mogas loss <0.5% of sales. Check if reconciliation is done daily for all UGT’s. |  |
| 8.7 Show the site HSSE Quick Checklists. Dealer should conduct weekly checks. |  |
| 8.8 Show the Material Safety Data Sheets (MSDS). Check if MSDS for all products i.e. fuels, lubes, coolants are available. |  |
| OTHER OBSERVATION |  |
| 9.1 Check any additional or potential risk on site. |  |